### Piranha Solution Information & Safety

General

Piranha solution is an extremely energetic solution which is used to remove organic residues from substrates. It can be highly acidic and acts as a strong oxidizer.

Preparation:

Two different solutions are used.

- Acid piranha: a 3:1 mixture of concentrated sulfuric acid (H2SO4) with 30% hydrogen peroxide (H2O2).

- Base piranha: a 3:1 mixture of ammonium hydroxide (NH4OH) with 30% hydrogen peroxide (H2O2).

Very Important;

Always add the peroxide to the acid very slowly

H2O2 should be added immediately before the etching process

Hazardousness:

Highly reactive and dangerous when hot, although the reaction in the acid piranha is self-starting whereas the base piranha must be heated to 60 degrees before the reaction takes off.

There are many things which will cause the reaction to accelerate out of control. "Out of control" can mean anything from the piranha foaming out of its container and on the bench, to an explosion with a huge shock wave including glove and acid-gown shredding glass sharps. Piranha burns organic compounds. If you provide sufficient fuel for them (i.e. photoresist, IPA), they will generate enormous quantities of heat and gas.

Protection equipment

1.

a)  	Aprons should be returned to the hanging posts with the “front side” (clearly marked) facing into the wall. This is noted by a sticker on the wall. This procedure prevents the potential of chemicals being spilled onto an apron, and then the contaminated side being used as the inside of the apron inadvertently.

b)	Heavy duty rubber gloves should be stored in plastic bags. Only ONE pair of gloves belongs in each bag. Please dry the gloves as much as possible prior to storing them following each use.

c)	At a minimum safety googles are required for working with piranha solution, however a full face shield would be more appropriate.

2. 	As a reminder, open-toed shoes are not allowed when working in the lab. Full length pants are also required.

Piranha solution handling

Piranha solutions, as well as any corrosive or hazardous substances requires at all time the presence of a second knowledgeable user (buddy system).

Whenever handling Piranha, only use glass containers (Pyrex). Piranha can attack and even melt plastic containers. Containers used during the experiment must be very clearly labeled and a warning sign, visible by any user working under the flow hood, must be posted at all time to indicate that the solutions contains Piranha mixture.

Mix the solution in the fume hood with the sash between you and the solution. Wear full PPE.

When preparing the piranha solution, always add the peroxide to the acid very slowly. The H2O2 is added immediately before the etching process because it immediately produces an exothermic reaction with gas (pressure) release. If the H2O2 concentration is at 50% or greater, an explosion could occur.

Piranha solution is very energetic and potentially explosive. It is very likely to become hot, more than 100 0C.  Handle with care. Picking up a beaker that is this hot will be very painful, might melt your gloves, and may cause you to spill it!

Substrates should be rinsed and dried before placing them in a piranha bath. Piranhas are used to remove photoresist and acetone residue, not the compounds themselves

Leave the hot piranha solution in an open container until cool.

Never store hot piranha solutions.  Piranha stored in a closed container will likely explode.

Adding any acids or bases to piranha or spraying it with water will accelerate the reaction.

Mixing hot piranha with organic compounds may cause an explosion.  This includes acetone, photoresist, isopropyl alcohol, and nylon.

Do not store wash bottles containing organic compounds near piranha work area.

Do not transport chemicals around the room in beakers. Never pour chemicals back into the original container.

Piranha waste disposal

The primary hazard from storage of piranha etch waste is the potential for gas generation and over pressurization of the container when the solution is still hot. If you store a hot solution in an air tight container, it will explode!

Therefore prior to store the piranha solution, it must be left in an open container in order to cool down for several hours (overnight). It is your responsibility to make sure that the open container is very clearly labeled and left in a safe area for overnight cool down.

Once cooled down, the solution can be transferred into a closed glass container for waste storage. The container must be very clearly labeled with the solution name and composition and must include VERY VISIBLE warning signs not to add any other types of chemicals.

Important: The acid solution contains waste products (including any hazardous waste) from the cleaned substrates.

Once the acid solution is cooled down, it should be stored in a vented cap vessel and contact EHS for proper disposal.

Emergency procedure

In case of large exposure, the victim should be removed from the contaminated area, placed under a safety shower while emergency personal is contacted (911)

All contaminated clothing should be removed immediately with appropriate gloves and safely discarded.

In case of contact with the skin, May cause skin burns.  The affected area must be immediately rinsed with large amounts of water for at least 15 min.

In case of contact with the eye, wash the eye for at least 30 minutes, keeping the eyelids apart and away from eyeballs during irrigation. Place ice pack on eyes until reaching emergency room.

In case of inhalation, it may irritate the respiratory tract.  Conscious persons should be assisted to an area with fresh, uncontaminated air.  Seek medical attention in the event of respiratory irritation, cough, or tightness in the chest.  Symptoms may be delayed.

Supply and storage

Do not store piranha.  Mix fresh solution for each use. Excess solutions should be disposed as explained before.